## Slide 1
July 25, 2000
Understanding ClearCase I/O Performance
and It’s Demands on Storage
BMCCUG

## Slide 2
Overview
Background
VOB Server Storage
Lessons Learned - VOB Storage
VOB Server Memory and the Underlying Filesystem
View Server Storage
Lessons Learned - VIEW Storage
Conclusions / Topics for Future Research

## Slide 3: In A “Perfect World”
Overview

## Slide 4: The Changing Profile
WHAT IS THE PROFILE WHEN IT GETS TO DISK?
% of Operations which are reads
% of Operations which are writes
Physical size of the I/O requests
Cache effectiveness - for reads & writes
Key Information Required
To Maximize Performance
Via The I/O Subsystem
User Profile
Database/Application
Host Memory
I/O Controller
Writes
to Disk
Host
Read
Caching
Initial Read
Request
Actual
Profile
At Disk
Overview

## Slide 5
Overview

## Slide 6
VOB Storage - Lessons Learned

## Slide 7
VOB Storage - Lessons Learned

## Slide 8
VOB Storage - Observation
Real World Observation:
The above data shows that production VOB I/O requests show higher percentage of overall I/O read requests for the UFS filesystem than for the Veritas VXFS journalled filesystem:
Note: Statistics From VOB Servers In Production
Filesystem Type % Of Overall I/O Requests Which Are Reads
UFS Filesystem 40.08%
Veritas VXFS Journalled Filesystem 20.19%

## Slide 9
VOB Storage - Observation Confirmed
The Baydel IOP2 program (ftp.baydelna.com) was used to generate completely random 8K write requests to both the standard Sun UFS filesystem and the Veritas VXFS filesystem.
The following results were measured
Sun UFS
I/O’s Per Second 68
MB Per Second 0.563636
Veritas VXFS
I/O’s Per Second 286
MB Per Second 2.349015

## Slide 10
VIEW Storage - Lessons Learned

## Slide 11
Build Servers - Lessons Learned

## Slide 12
ClearCase is Puts a Write Intensive Workload on Drives
Filesystem Type Impacts Disk Workload
Conclusion - Lessons Learned

## Slide 13
Conclusion - Lessons Learned

## Slide 14
ClearCase Storage - Topics for Future Data
Performance deltas
- Timed Builds of source code
- “make clean” then “clearmake –v” of the source code
VXFS Filesystem tuning for ClearCase Performance
Further refine I/O workload profiles for VOB database and the various storage pools by placing them on separate Arrays